## Sheet2
Project Name : Marengo
Type of System -Rooftop
DC | 861 | KWp
AC | 500 | KW
Module Price | 370230 | 0.43
Inverter Price | 82680.5144 | 0.096028
Structure Price | 301350 | 0.35
BOS | 378840 | 0.44
Mechanical installation | 215250 | 0.25
Electrical Installation | 387450 | 0.45
Civil | 17220 | 0.02
Engineering | 77490 | 0.09
Permitting | 43050 | 0.05
Overhead | 120540 | 0.14
Margin | 285510.0514 | 0.3316
Contingency Amount | 113980.5283 | 0.13238
Total $/Wp | 2393591.0942 | 2.78
Note-
Currently, we have used a module price of $0.43/Wp for Heline as it will be domestic content. Please let us know if this needs to be updated.
Bonding, sales and use tax is not included in the offer but can be made available upon request.
Permitting costs will be determined based on actual requirements and are excluded from this cost estimate.
Any cost related Utility application fees, impact studies, and utility upgrades are excluded.
No cost for third Party External Study is considered
The modification in the inverter location will lead to a revision of the CAPEX, as this alteration will impact the cable analysis.
The cost of stamping is not covered within the design set and will incur an additional charge of $500 per set.
Currently, we are considering a 10% margin on supply and a 20% margin on installation.
5% of contingency is consdiered in the above cost
Includes one mobilization and one demobilization.
POI location is at inverter level only

## Sheet1
Contingency | Type of System | System Size | Module Price | Inverter Price | Structure Price | BOS | Mechanical installation | Electrical Installation | Civil | Engineering | Permitting | Overhead | Margin | Sales & Use Tax | Contingency Amount | Bonding amount | Total $/Wp
741.78
5% | RT | 2.2 | 0.43 | 0.096028 | 0.35 | 0.44 | 0.25 | 0.45 | 0.02 | 0.09 | 0.05 | 0.14 | 0.3316 | 0 | 0.13238 | 0 | 2.78
5% | RT | 0.0022 | 0.22 | 0.05 | 0.3 | 0.45 | 0.25 | 0.45 | 0.05 | 0.09 | 0.05 | 0.14 | 0.308 | 0 | 0.1179 | 0 | 2.4759
[15 empty] | 0 |  | 0.30411
[10 empty] | 66760.2 | 37089
Reference from Empower NCC project |  |  |  |  | 259623 |  |  |  |  | #REF!
Type of System -Rooftop
DC | 741.78 | KWp |  | DC |  |  |  | 556335
AC | 500 | KW |  | AC | 1219
Supply | 976203.6 | 1.316 | 47.34% | Rooftop |  |  | 915680
Installation | 534081.6 | 0.72 | 25.9% | DC | 1268 | 585 | 741.78
Engineering & permitting | 103849.2 | 0.14 | 5.036% | AC | 5 | 100 | 500 | 10000 | 50000 |  |  | 0.096028
SG&A | 103849.2 | 0.14 | 5.036% |  | 0 | 36 | 0 | 3800 | 0
Margin | 245976.36 | 0.3316 | 11.93% |  | 634 |  |  | 25 | 15850
Contingency | 98197.998 | 0.13238 | 4.762% |  | 1 |  |  | 857 | 857 | FlexOM
Total | 2062157.958 | 2.78 |  |  | 1 |  |  | 2000 | 2000 | Flex Portal
[5 empty] | 1 |  |  | 1750 | 1750 | Onsite CPS field service ‘start-up’ commissioning support, per man day
Type of System -Rooftop |  |  |  |  | 5 |  |  | 155 | 775 | Shipping
DC | 861 | KWp | 1.1975 | [5 empty] | 71232 | 0.096028
AC | 719 | KW
Module Price | 370230 | 0.43 | 2150% | DC | 1268 | 585 | 741.78
Inverter Price | 82680.5144 | 0.096028 | 480.1% | AC | 0 | 60 | 0 | 10000 | 0 | Inverter cost
Structure Price | 301350 | 0.35 | 1750% |  | 0 | 36 | 0 | 3800 | 0 | Inverter cost
BOS | 378840 | 0.44 | 2200% |  |  |  |  | 775 | 775 | Flex OM
Mechanical installation | 215250 | 0.25 | 1250% |  |  |  |  | 155 | 0 | Shipping
Electrical Installation | 387450 | 0.45 | 2250% |  |  |  |  | 1750 | 1750 | Onsite commissioning
Civil | 17220 | 0.02 | [5 empty] | 90 | 0 | Inverter roof mount leg
Engineering | 77490 | 0.09 |  |  | 634 |  |  | 22 | 13948 | Optimiser
Permitting | 43050 | 0.05 | [6 empty] | 16473 | 0.019132
Overhead | 120540 | 0.14
Margin | 285510.0514 | 0.3316
Sales & Use Tax | 0 | 0 |  | Supply | 1675695 | 2232450 | 0.75061 | JPMC Vision II
Contingency Amount | 113980.5283 | 0.13238 |  | Foundation Installation | 599823.53 | 599823.53 | 0.26868
Bonding amount | 0 | 0 |  | Racking, Under Decking, | 924310.59 | 924310.59 | 0.41403
Total $/Wp | 2393591.0942 | 2.78 |  | Panel Installation | 262588.24 | 262588.24 | 0.11762
0.80034
500 | 40 | 20000

## Sheet3
Module Price | Inverter Price | Structure Price | BOS | Mechanical installation | Electrical Installation | Civil | Engineering | Permitting | Overhead | Margin | Sales & Use Tax | Contingency Amount | Bonding amount | Total $/Wp
0.43 | 0.096028 | 0.35 | 0.44 | 0.25 | 0.45 | 0.02 | 0.09 | 0.05 | 0.14 | 0.3316 | 0 | 0.13238 | 0 | 2.78
Installation PKG Breakdown
| Mechanical installation | 0.25
| Electrical Installation | 0.45
| Civil | 0.02
| Total | 0.72
Brakdown of Mechanical pkg
| Foundation Installation | 0.26868
| Racking, Under Decking, | 0.41403
| Panel Installation | 0.11762
| Total | 0.80034