## Summary
Project Name : Mansfield Industries
Type of System -Ground Mount
DC | 720 | KWp
AC | 600 | KW
Module Price | 273600 | 0.38
Inverter Price | 69140.4999 | 0.096028
Structure Price | 180000 | 0.25
BOS | 216000 | 0.3
Mechanical installation | 180000 | 0.25
Electrical Installation | 396000 | 0.55
Civil | 72000 | 0.1
Engineering | 72000 | 0.1
Permitting | 28800 | 0.04
Overhead | 108000 | 0.15
Margin | 159554.05 | 0.2216
Contingency Amount | 52652.8365 | 0.073129
Total $/Wp | 1807747.3864 | 2.5108
Note-
Currently, we have used a module price of $0.38/Wp for First Solar. Please let us know if this needs to be updated.
Bonding, sales and use tax is not included in the offer but can be made available upon request.
Permitting costs will be determined based on actual requirements and are excluded from this cost estimate.
Any cost related Utility application fees, impact studies, and utility upgrades are excluded.
No cost for third Party External Study is considered
The modification in the inverter location will lead to a revision of the CAPEX, as this alteration will impact the cable analysis.
The cost of stamping is not covered within the design set and will incur an additional charge of $500 per set.
Currently, we are considering a 10% margin on supply and installation.
3% of contingency is consdiered in the above cost
Includes one mobilization and one demobilization.
We have considered the cost associsted with zero-export (limiting) system.
POI location is at inverter level only

## Sheet1
Contingency | Type of System | System Size | Module Price | Inverter Price | Structure Price | BOS | Mechanical installation | Electrical Installation | Civil | Engineering | Permitting | Overhead | Margin | Sales & Use Tax | Contingency Amount | Bonding amount | Total $/Wp
741.78
3% | GM | 2.2 | 0.38 | 0.096028 | 0.25 | 0.3 | 0.25 | 0.55 | 0.1 | 0.1 | 0.04 | 0.15 | 0.2216 | 0 | 0.073129 | 0 | 2.5108
[15 empty] | 0 |  | #REF!
[10 empty] | #REF! | #REF!
Reference from Empower NCC project |  |  |  |  | 185445 |  |  |  |  | #REF!
Type of System -Rooftop
DC | 741.78 | KWp |  | DC |  |  |  | #REF!
AC | 500 | KW |  | AC | 1100
Supply | 761087.4 | 1.026 | 40.87% | Rooftop |  |  | 915680
Installation | 667602 | 0.9 | 35.85% | DC | 1268 | 585 | 741.78
Engineering & permitting | 103849.2 | 0.14 | 5.576% | AC | 5 | 100 | 500 | 10000 | 50000 |  |  | 0.096028
SG&A | 111267 | 0.15 | 5.974% |  | 0 | 36 | 0 | 3800 | 0
Margin | 164380.56 | 0.2216 | 8.826% |  | 634 |  |  | 25 | 15850
Contingency | 54245.5848 | 0.073129 | 2.913% |  | 1 |  |  | 857 | 857 | FlexOM
Total | 1862431.7448 | 2.5108 |  |  | 1 |  |  | 2000 | 2000 | Flex Portal
[5 empty] | 1 |  |  | 1750 | 1750 | Onsite CPS field service ‘start-up’ commissioning support, per man day
Type of System -Ground Mount |  |  |  |  | 5 |  |  | 155 | 775 | Shipping
DC | 720 | KWp | 1.2 | [5 empty] | 71232 | 0.096028
AC | 600 | KW
Module Price | 273600 | 0.38 | 380% | DC | 1440 | 500 | 720
Inverter Price | 69140.4999 | 0.096028 | 96.03% | AC | 3 | 200 | 600 | 10000 | 30000 | Inverter cost
Structure Price | 180000 | 0.25 | 250% |  | 0 | 36 | 0 | 3800 | 0 | Inverter cost
BOS | 216000 | 0.3 | 300% |  |  |  |  | 775 | 775 | Flex OM
Mechanical installation | 180000 | 0.25 | 250% |  |  |  |  | 155 | 465 | Shipping
Electrical Installation | 396000 | 0.55 | 550% |  |  |  |  | 1750 | 1750 | Onsite commissioning
Civil | 72000 | 0.1 | [5 empty] | 90 | 270 | Inverter roof mount leg
Engineering | 72000 | 0.1 |  |  | 720 |  |  | 22 | 15840 | Optimiser
Permitting | 28800 | 0.04 | [6 empty] | 49100 | 0.068194
Overhead | 108000 | 0.15
Margin | 159554.05 | 0.2216
Sales & Use Tax | 0 | 0 |  | Supply | 1675695 | 2232450 | 0.75061 | JPMC Vision II
Contingency Amount | 52652.8365 | 0.073129 |  | Foundation Installation | 599823.53 | 599823.53 | 0.26868
Bonding amount | 0 | 0 |  | Racking, Under Decking, | 924310.59 | 924310.59 | 0.41403
Total $/Wp | 1807747.3864 | 2.5108 |  | Panel Installation | 262588.24 | 262588.24 | 0.11762
0.80034
[5 empty] | for zero-export (limiting) system | considering reverse power realy | 50000 | 0.069444
500 | 40 | 20000

## Sheet3
Module Price | Inverter Price | Structure Price | BOS | Mechanical installation | Electrical Installation | Civil | Engineering | Permitting | Overhead | Margin | Sales & Use Tax | Contingency Amount | Bonding amount | Total $/Wp
0.38 | 0.096028 | 0.25 | 0.3 | 0.25 | 0.55 | 0.1 | 0.1 | 0.04 | 0.15 | 0.2216 | 0 | 0.073129 | 0 | 2.5108
Installation PKG Breakdown
| Mechanical installation | 0.25
| Electrical Installation | 0.55
| Civil | 0.1
| Total | 0.9
Brakdown of Mechanical pkg
| Foundation Installation | 0.26868
| Racking, Under Decking, | 0.41403
| Panel Installation | 0.11762
| Total | 0.80034