## Summary
Projwect Name : Unilock- Marengo
Type of System -Ground Mount
DC | 1630 | KWp
AC | 1400 | KW
Module Price | 619400 | 0.38
Inverter Price | 156526.4094 | 0.096028
Structure Price | 358600 | 0.22
BOS | 611250 | 0.375
Mechanical installation | 391200 | 0.24
Electrical Installation | 733500 | 0.45
Civil | 195600 | 0.12
Engineering | 32600 | 0.02
Permitting | 32600 | 0.02
Overhead | 130400 | 0.08
Margin | 326167.6409 | 0.2001
Contingency Amount | 107635.3215 | 0.066034
Total $/Wp | 3695479.3719 | 2.2672
Note-
Currently, we have used a module price of $0.38/Wp for First Solar. Please let us know if this needs to be updated.
Bonding, sales and use tax is not included in the offer but can be made available upon request.
Permitting costs will be determined based on actual requirements and are excluded from this cost estimate.
Any cost related Utility application fees, impact studies, and utility upgrades are excluded.
No cost for third Party External Study is considered
The modification in the inverter location will lead to a revision of the CAPEX, as this alteration will impact the cable analysis.
The cost of stamping is not covered within the design set and will incur an additional charge of $500 per set.
Currently, we are considering a 10% margin on supply and installation.
3% of contingency is consdiered in the above cost
Includes one mobilization and one demobilization.
We have considered the cost associsted with zero-export (limiting) system.
POI location is at inverter level only