## Sheet2
Projwect Name : Mattingly Cold Storage
Type of System -Rooftop
DC | 1930 | KWp
AC | 500 | KW
Module Price | 829900 | 0.43
Inverter Price | 185334.9511 | 0.096028
Structure Price | 579000 | 0.3
BOS | 656200 | 0.34
Mechanical installation | 482500 | 0.25
Electrical Installation | 810600 | 0.42
Civil | 38600 | 0.02
Engineering | 19300 | 0.01
Permitting | 57900 | 0.03
Overhead | 154400 | 0.08
Margin | 381373.4951 | 0.1976
Contingency Amount | 209755.4223 | 0.10868
Total $/Wp | 4404863.8685 | 2.2823
Note-
Currently, we have used a module price of $0.43/Wp for Heline as it will be domestic content. Please let us know if this needs to be updated.
Bonding, sales and use tax is not included in the offer but can be made available upon request.
Permitting costs will be determined based on actual requirements and are excluded from this cost estimate.
Any cost related Utility application fees, impact studies, and utility upgrades are excluded.
No cost for third Party External Study is considered
The modification in the inverter location will lead to a revision of the CAPEX, as this alteration will impact the cable analysis.
The cost of stamping is not covered within the design set and will incur an additional charge of $500 per set.
Currently, we are considering a 10% margin on supply and a 20% margin on installation.
5% of contingency is consdiered in the above cost
Includes one mobilization and one demobilization.
POI location is at inverter level only